**ENHANCEMENT OF DISTRIBUTION SYSTEMS PERFORMANCE USING MODERN OPTIMIZATION TECHNIQUES**

**B. Sc. Project**

**Supervised by:**

**Dr. Mohamed Taha Mouwafi**

**2021/2022**

**2021/2022**

##### Project Team

* **Moustafa Mohamed Abdelghani Abdalla Shahin**
* **Mohamed Khaled Ahmed Soltan**
* **Mohamed Rabie Abdelhamid Mohamed Elshiekh**
* **Moustafa Mohamed Abdelghani Nada**
* **Mohamed Fekry Mohamed Abdelwareth Zahran**
* **Mohamed EmadAldean Abdelnabi Abdallah**
* **Mohamed Ali Elsayed Abdelgleil**
* **Mohamed Eldesoky Ahmed Halema**
* **Mohamed Ragab Abdelmoati Khafaga**
* **Moustafa Ahmed Sabry Alashmawi**
* **Islam Gamal Hussien Alagha**

##### Acknowledgement

At first, we are very grateful to Allah the most merciful, by the grace of whom the present work was realized, blessed our efforts, showed us the way and provided us with power to present this work in an acceptable form and ended in this style.

We are indebted with sincere appreciation and grateful to Dr. Mohamed Taha Mouwafi for his supervision, invaluable supporting, continuous guidance and contributions in developing this work.

Finally, we would like to express our thanks to anyone who has helped us during this work.

Project team

##### ABSTRACT

The major loads are connected to the network through the distribution systems. Therefore, the quality of the service is based on the continuity of power and maintaining the supply voltage within certain limits with specified frequency. Due to the rapid spread in the loads, the long distance of radial structure and the high R/X ratio of lines, the power loss reduction and voltage profile improvement are the challenge. To solve these problems, the distributed generations (DGs) and shunt capacitors are installed on the radial feeders for active and reactive power injections. Therefore, the optimal locations and sizes of DGs and capacitors in distribution systems can be formulated as a constrained optimization problem. In order to solve this problem, the optimization techniques are applied

This project presents a procedure to determine the optimal placement of DGs and capacitors with an objective of power loss minimization or total voltage deviation minimization. The Archimedes Optimization Algorithm (AOA) is introduced to find the optimal locations and sizes of DGS and Capacitors considering the minimization of total power loss or TVD as objective function, while the security and operational constraints are fully achieved. The backward/forward sweep (BFS) algorithm is introduced for the load flow calculations. The proposed procedure is applied on 34-bus standard radial distribution system and East Delta Network (EDN) distribution system as a part of the Unified Egyptian Network (UEN) in order to solve the optimal DGs and capacitors placement problem. The obtained results are compared with other methods. Simulation results show the capability of the proposed procedure to find the optimal solution for significant minimization in the objective function with more accuracy and efficiency.

##### Table of contents

[Project Team i](#_Toc107916494)

[Acknowledgement ii](#_Toc107916495)

[ABSTRACT iii](#_Toc107916496)

[Table of contents iv](#_Toc107916497)

[Table of Figures vi](#_Toc107916498)

[Table of Tables vii](#_Toc107916499)

[List of Symbols ix](#_Toc107916500)

[1. Introduction 1](#_Toc107916501)

[1.1. General 1](#_Toc107916502)

[1.2. Project Contributions 5](#_Toc107916503)

[1.3. Scope of the Project 5](#_Toc107916504)

[2. Distributed Generation and Capacitor Technologies 7](#_Toc107916505)

[2.1. Introduction 7](#_Toc107916506)

[*2.2.* Distributed Generations (DGs) 8](#_Toc107916507)

[2.2.1. Definition of DG 8](#_Toc107916508)

[2.2.2. Types of DGs 9](#_Toc107916509)

[2.2.3. Applications of DGs 10](#_Toc107916510)

[2.3. Capacitor Banks 11](#_Toc107916511)

[2.3.1. Fixed versus switched capacitor banks 11](#_Toc107916512)

[2.3.2. Benefits of capacitor banks 12](#_Toc107916513)

[3. Problem Formulation 14](#_Toc107916514)

[3.1. Introduction 14](#_Toc107916515)

[3.2. Problem Formulation 15](#_Toc107916516)

[3.2.1. Objective functions 15](#_Toc107916517)

[3.2.1.1. Total power loss minimization 15](#_Toc107916518)

[3.2.1.2. TVD minimization 15](#_Toc107916519)

[3.2.2. System constraints 16](#_Toc107916520)

[3.2.2.1. Equality constraint 16](#_Toc107916521)

[3.2.2.2. Inequality constraints 16](#_Toc107916522)

[4. Archimedes Optimization Algorithm (AOA) 19](#_Toc107916523)

[4.1. Modern Optimization Methods 19](#_Toc107916524)

[4.2. Archimedes Optimization Algorithm 19](#_Toc107916525)

[4.2.1. Introduction 19](#_Toc107916526)

[4.2.2. AOA Theory 20](#_Toc107916527)

[4.2.3. Algorithmic steps 20](#_Toc107916528)

[5. APPLICATIONS AND RESULTS 24](#_Toc107916529)

[5.1. Test Systems 24](#_Toc107916530)

[5.2. Case Studies 24](#_Toc107916531)

[5.3. Results 25](#_Toc107916532)

[5.3.1. Total power losss minimization 25](#_Toc107916533)

[5.3.1.1. 34-bus radial distribution system 25](#_Toc107916534)

[5.3.1.2. EDN radial distribution system 32](#_Toc107916535)

[5.3.2. TVD minimization 38](#_Toc107916536)

[5.3.2.1. 34-bus radial distribution system 38](#_Toc107916537)

[5.3.2.2. EDN radial distribution system 43](#_Toc107916538)

[6. CONCLUSIONS 49](#_Toc107916539)

[REFERENCES 50](#_Toc107916540)

[Appendix A 53](#_Toc107916541)

[Appendix B 57](#_Toc107916542)

##### Table of Figures

[Figure ‎5‑1 convergence curve for IEEE-34 network (objective function: Total power loss minimization) 31](#_Toc107902788)

[Figure ‎5‑2 convergence curve for IEEE-34 network (objective function: Total power loss minimization) 31](#_Toc107902789)

[Figure ‎5‑3 voltage profile for IEEE-34 network (objective function: Total power loss minimization) 32](#_Toc107902790)

[Figure ‎5‑4 Voltage profile for EDN system (objective function: Total power loss minimization) 37](#_Toc107902791)

[Figure ‎5‑5 convergence curve for EDN system (objective function: Total power loss minimization) 37](#_Toc107902792)

[Figure ‎5‑6 convergence curve for EDN system (objective function: Total power loss minimization) 38](#_Toc107902793)

[Figure ‎5‑7 convergence curve for IEEE-34 system (objective function: TVD minimization) 42](#_Toc107902794)

[Figure ‎5‑8 convergence curve for IEEE-34 system (objective function: TVD minimization) 42](#_Toc107902795)

[Figure ‎5‑9 Voltage profile for IEEE-34 system (objective function: TVD minimization) 43](#_Toc107902796)

[Figure ‎5‑10 Voltage profile for EDN system (objective function TVD minimization) 47](#_Toc107902797)

[Figure ‎5‑11 convergence curve for EDN system (objective function TVD minimization) 47](#_Toc107902798)

[Figure ‎5‑12 convergence curve for EDN system (objective function TVD minimization) 48](#_Toc107902799)

##### Table of Tables

[Table ‎5‑1 A comparison between the power loss minimization using the proposed procedure with other methods using only the DGs at unity power factor (case 1) for 34-bus test system 26](#_Toc107902800)

[Table ‎5‑2 A comparison between the power loss minimization using the proposed procedure with other methods using only the DGs at 0.9 power factor (case 2) for 34-bus test system 27](#_Toc107902801)

[Table ‎5‑3 A comparison between the power loss minimization using the proposed procedure with other methods using only the capacitors (case 3) for 34-bus test system 28](#_Toc107902802)

[Table ‎5‑4 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at unity power factor and capacitors (case 4 ) for 34-bus test system 29](#_Toc107902803)

[Table ‎5‑5 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at .9 power factor and capacitors (case 5) for 34-bus test system 30](#_Toc107902804)

[Table ‎5‑6 Optimal locations and sizes of DGs at unity power factor using the proposed method for EDN system (case 1) 33](#_Toc107902805)

[Table ‎5‑7 Optimal locations and sizes of DGs at 0.9 power factor using the proposed method for EDN system (case 2) 33](#_Toc107902806)

[Table ‎5‑8 Optimal locations and sizes of capacitors using the proposed method for EDN system (case 3) 34](#_Toc107902807)

[Table ‎5‑9 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at unity power factor and capacitors (case 4 ) for EDN system 35](#_Toc107902808)

[Table ‎5‑10 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at .9 power factor and capacitors (case 5) for EDN system 36](#_Toc107902809)

[Table ‎5‑11 A comparison between the TVD minimization using the proposed procedure with other methods using only the DGs at unity power factor (case 1) for 34-bus test system 39](#_Toc107902810)

[Table ‎5‑12 A comparison between TVD minimization using the proposed procedure with other methods using only the DGs at 0.9 power factor (case 2) for 34-bus test system 39](#_Toc107902811)

[Table ‎5‑13 A comparison between TVD minimization using the proposed procedure with other methods using only the capacitors (case 3) for 34-bus test system 40](#_Toc107902812)

[Table ‎5‑14 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at unity power factor and capacitors (case 4 ) for 34-bus test system 41](#_Toc107902813)

[Table ‎5‑15 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at .9 power factor and capacitors (case 5) for 34-bus test system 41](#_Toc107902814)

[Table ‎5‑16 Optimal locations and sizes of DGs at unity power factor to reduce TVD using the proposed method for EDN system (case 1) 44](#_Toc107902815)

[Table ‎5‑17 Optimal locations and sizes of DGs at 0.9 power factor using the proposed method for EDN system (case 2) 44](#_Toc107902816)

[Table ‎5‑18 Optimal locations and sizes of capacitors using the proposed method for EDN system (case 3) 45](#_Toc107902817)

[Table ‎5‑19 A comparison between the TVD minimization using the proposed procedure with other methods using DGs at unity power factor and capacitors (case 4 ) for EDN system 45](#_Toc107902818)

[Table ‎5‑20 A comparison between the power loss minimization using the proposed procedure with other methods using DGs at .9 power factor and capacitors (case 5) for EDN system 46](#_Toc107902819)

Chapter 2

Chapter 3

Chapter 4

Chapter 5

Chapter 6

* the proposed procedure represents a potential tool to improve the distribution system performance as well as help the system operators.

References

Appendix A

Fig. B.1 Flow chart of backward/forward sweep load flow